## Sheet1
Entry-exit inspection - commonly used in laboratories
serial number | name | Common models | Features
1 | ELISA analyzer | JC-1181 | End-point method, two-point method, kinetic method, single/dual wavelength measurement mode, rapid measurement of sample absorbance, product mold manufacturing
2 | Scanning UV-Vis Spectrophotometer | UV759 | High Resolution, Ground Stray Light, LCD Display UV-Vis Spectrophotometer
3 | Visible Spectrophotometer | 721\722\722N\722S | Measure the degree of absorption of monochromatic radiation of different wavelengths by substances, quantitative analysis
4 | Automatic Kjeldahl nitrogen analyzer | JC-QN-04C | It is an indispensable inspection equipment for food factories and drinking water factories to do QS and HACCP certification.
5 | Gas Chromatograph | JC-2011 | Qualitative and quantitative analysis
6 | Automatic trace moisture analyzer | JC-SF-1 | Suitable for the determination of moisture in most liquids, gases and solids
7 | Portable pH Meter ¦ Acidity Meter ¦ Acidity Tester | PHB-4 | Laboratory precision measurement of solution pH and electrode potential
8 | Handheld Colorimeter | sph900 | Objective quality control of colors in production according to DIN EN ISO 9000 measurement records
9 | Handheld Radio Velocity Meter | SVR | flow rate
10 | VJ cold atomic absorption mercury measuring instrument | JC-F732 | Mercury can be measured in liquid samples, as well as in solid or gas samples that have been processed to convert to liquids
11 | Flame Graphite Furnace Integrated Atomic Absorption Spectrophotometer | JC-YZ-600 | Quantitative analysis based on the degree of absorption of characteristic radiation by ground-state atoms of the measured element
12 | Gradient Liquid Chromatograph | LC600B | Qualitative and quantitative analysis
13 | blood cell counter | QI-3536(58) | A glass plate device for observing and counting the number of cells in a unit volume called a hemocytometer under a microscope
14 | automatic polarimeter | JCX-1 | It has four test modes: optical rotation, specific rotation, concentration and sugar content. It can automatically re-measure 6 times and calculate the average value and root mean square. It can test dark samples.
15 | Multifunctional plate washer | JC-DXBJ | It is used for the cleaning of microplate plates in hospitals, blood stations, health and epidemic prevention stations, reagent factories and research laboratories.