## Sheet1
Environmental monitoring station - commonly used in laboratories
serial number | name | Common models | Features
1 | Portable pH Meter ¦ Acidity Meter ¦ Acidity Tester | PHB-4 | Laboratory precision measurement of solution pH and electrode potential
2 | Portable Conductivity Meter | DDBJ-350 | Instrument can perform conductivity, TDS, salinity and temperature measurements
3 | Gradient Liquid Chromatograph | LC600B | Qualitative and quantitative analysis
4 | Gas Chromatograph | JC-2011 | Qualitative and quantitative analysis
5 | Scanning UV-Vis Spectrophotometer | UV759 | High Resolution, Ground Stray Light, LCD Display UV-Vis Spectrophotometer
6 | Visible Spectrophotometer | 721\722\722N\722S | Measure the degree of absorption of monochromatic radiation of different wavelengths by substances, quantitative analysis
7 | Flame Graphite Furnace Integrated Atomic Absorption Spectrophotometer | JC-YZ-600 | Quantitative analysis based on the degree of absorption of characteristic radiation by ground-state atoms of the measured element
8 | Ion Chromatograph | IC-700 | Two modes of single-channel and dual-channel workstations, which can complete the acquisition and processing of anion and cation data at the same time
9 | Portable Turbidity Meter | JC-BZ-1T | Measure the degree of scattering , and can quantitatively characterize the content of these suspended particulate matter
10 | Atomic Fluorescence Photometer | JC-YG-200 | Three channels can be measured at the same time
11 | Portable dissolved oxygen meter | Hengxin AZ8403 | Determination of dissolved oxygen
12 | Portable Ion Meter | PXBJ-287L | Measure multiple parameters of potential value, pH value, pX value, ORP value, RmV, ion concentration value, temperature value
13 | Filter paper smoke meter | JCY-2LZ | Fully automatic type, LCD liquid crystal display
14 | Opacimeter | JCY-5Y | for the determination of smoke
15 | VJ cold atomic absorption mercury measuring instrument | JC-F732 | Mercury can be measured in liquid samples, as well as in solid or gas samples that have been processed to convert to liquids
16 | Power frequency electric field (near area) field strength meter High frequency electromagnetic field near area field strength tester | RJ-5 RJ-2 | Power Plant Magnetic Field
17 | 24-hour constant temperature automatic continuous sampler | JCH-2400-4 | Constant temperature and constant current, daily average, time average sampling
18 | Touch screen infrared spectrophotometer | JC-OIL-6 | Suitable for the determination of petroleum, animal and vegetable oils in groundwater, surface water, industrial wastewater and domestic sewage
19 | Ringelmann blackness meter | JCP-LGM | Using Ringelmann Smoke Concentration Map to Measure Smoke Darkness Level
20 | Dual Atmospheric Sampler | JCH-2400 | Collect air and harmful gases in the atmosphere
twenty one | Dual intelligent flue gas sampler | JCY-2 | Measure the concentration of smoke and dust in the pipeline
twenty two | Automatic soot and flue gas tester | JCY-80E (S) | Double automatic tracking sampling method, which can perform constant-speed sampling and constant-current sampling according to different sampling methods
twenty three | Automobile exhaust gas analyzer | JCY-506 | Used to measure the concentration of CO, HC, CO2, O2, NOX in exhaust gas
twenty four | Automobile exhaust gas analyzer | JCY-5Q | Detection of car exhaust
25 | Portable Infrared CO Analyzer | JC-3011A | Measure CO content
26 | BOD5 analyzer | JC-870H | Measuring Biological Oxygen Demand in Water
27 | Portable all-in-one COD analyzer | JC-200B | Determination of chemical oxygen demand in water
28 | Dual intelligent flue gas sampler | JCY-2 | Collect flue gas in the pipe
29 | Automatic soot and flue gas tester | JCY-80E (S) | Double automatic tracking sampling method, which can perform constant-speed sampling and constant-current sampling according to different sampling methods
30 | Automatic soot and flue gas tester | JCY-80E (S) | Double automatic tracking sampling method, which can perform constant-speed sampling and constant-current sampling according to different sampling methods
31 | Touch screen infrared spectrophotometer | JC-OIL-6 | Suitable for the determination of petroleum, animal and vegetable oils