## Sheet1
Quality and safety - commonly used in laboratories
serial number | name | Common models | Features
1 | Automatic refractometer | JCZ-200 | Efficient and highly accurate measurement of the refractive index (nD) and the mass fraction of sugar solutions of various liquids such as transparent, translucent, dark, viscous, etc.
2 | Handheld Colorimeter | sph900 | Objective quality control of colors in production according to DIN EN ISO 9000 measurement records
3 | Portable Conductivity Meter | DDBJ-350 | Instrument can perform conductivity, TDS, salinity and temperature measurements
4 | Touch screen infrared spectrophotometer | JC-OIL-6 | Suitable for the determination of petroleum, animal and vegetable oils in groundwater, surface water, industrial wastewater and domestic sewage
5 | Visible Spectrophotometer | 721\722\722N\722S | Measure the degree of absorption of monochromatic radiation of different wavelengths by substances, quantitative analysis
6 | Formaldehyde analyzer | JC-PPM-800II | Used in indoor environment formaldehyde detection, environmental protection decoration, scientific research and teaching, environmental monitoring departments, special equipment for formaldehyde detection in inspection and quarantine
7 | Scanning UV-Vis Spectrophotometer | UV759 | High Resolution, Ground Stray Light, LCD Display UV-Vis Spectrophotometer
8 | Portable pH Meter ¦ Acidity Meter ¦ Acidity Tester | PHB-4 | Laboratory precision measurement of solution pH and electrode potential
9 | VJ cold atomic absorption mercury measuring instrument | JC-F732 | Mercury can be measured in liquid samples, as well as in solid or gas samples that have been processed to convert to liquids
10 | Atomic Fluorescence Photometer | JC-YG-200 | Three lights and three channels
11 | Flame Graphite Furnace Integrated Atomic Absorption Spectrophotometer | JC-YZ-600 | Quantitative analysis based on the degree of absorption of characteristic radiation by ground-state atoms of the measured element
12 | Gradient Liquid Chromatograph | LC600B | Qualitative and quantitative analysis
13 | Illuminometer | TES-1336A | Measures light intensity, can be connected to a computer
14 | Handheld Radio Velocity Meter | SVR | flow rate
15 | Micro hot stage melting point apparatus | JCR-350 | Melting point measurement of crystalline chemicals, pharmaceuticals and partially crystalline polymers