## Sheet1
Public Health - Commonly Used in Laboratories
serial number | name | Common models | Features
1 | Explosion-proof dust detector | CCZ1000 | Principle of infrared light absorption method for determination of suspended dust concentration in ambient air
2 | Plateau Empty Box Barometer | DYM3-1 | High altitude atmospheric pressure measurement
3 | Digital Thermo-Hygrometer | TES-1360A | Dew point measurement function, dual display of temperature and humidity
4 | Soap film flowmeter | JCL-2010(S) | Detection of gas or liquid flow
5 | Portable Anemometer | TES-1341 | Can calculate air volume, dew point temperature, wet bulb temperature, air cooling temperature index, wet index temperature and heat index temperature
6 | Dual channel UV radiation meter | UV-B | Suitable for UV irradiance measurement in sterilization, lithography, water treatment, medical treatment, breeding and other fields
7 | Two-way constant temperature automatic continuous sampler | JCH-2400-2 | Constant temperature and constant current, automatic sampling
8 | Heat Index Meter/Black Ball Thermometer | AZ8778 WBGT | Used to evaluate meteorological conditions in high temperature workshops
9 | personal sound exposure meter | ASV5910 | It integrates various instruments and functions such as sound level meter, integral sound level meter, statistical analyzer, personal sound exposure meter, recorder, digital recorder, etc.
10 | Octave Sound Level Meter | AWA5688-2 | Level 2, Statistics, Storage, with AH40 Printer
11 | multifunction sound level meter | AWA5688 | Level 2, Statistics, Storage, 1/1OCT Analysis, with AH40 Printer
12 | Illuminometer | TES-1330A | light intensity
13 | Power frequency electric field (near area) field strength meter | RJ-5 | Power frequency power plant strength detection
14 | High frequency electric field near field strength tester | RJ-3 | High frequency power plant strength detection
15 | Microwave leakage detector | ML-91VA | Microwave leakage detection device
16 | Dual channel UV radiation meter | UV-B | Suitable for UV irradiance measurement in sterilization, lithography, water treatment, medical treatment, breeding and other fields
17 | Portable Infrared CO/CO2 Analyzer | JC-3010/3011AE | Detection of CO
18 | Portable Infrared CO/CO2 Analyzer | JC-3010/3011AE | Detection of CO2
19 | High frequency electromagnetic field near field strength tester | RJ-2 | High Frequency Electromagnetic Field Near Field Strength Detection
20 | Dual Atmospheric Sampler | JCH-2400 | Collect air and harmful gases in the atmosphere
21 | Gas Chromatograph | JC-2011 | Qualitative and quantitative analysis
22 | VJ cold atomic absorption mercury measuring instrument | JC-F732 | Mercury can be measured in liquid samples, as well as in solid or gas
23 | Portable Conductivity Meter | DDBJ-350 | Instrument can perform conductivity, TDS, salinity and temperature measurements
24 | 1/10,000 electronic analytical balance (internal school) | FA1004C | The performance is more stable and the response speed is faster, and it has the functions of adjustable integration, stability and sensitivity.
25 | 1/100,000 Microelectronic Analytical Balance | ME55 | Laboratory special instruments
26 | Microwave Digestion Apparatus | JC-101W | Digestion of COD
27 | Vortex mixer | JC-XW-II | For the mixing of peripheral blood in blood routine without destroying blood cells
28 | Low-speed benchtop centrifuge | TDL-4 | Use centrifugal force to separate components from liquid and solid particles or a mixture of liquid and liquid
29 | Ultrasonic cleaner | JC-QX | In addition to its own cleaning function, it also has various
30 | Constant temperature water bath | HH-6 | Water bath constant temperature heating and other temperature tests
31 | Automatically controlled rotary evaporator | JC-ZF-1L | It is used for continuous distillation of volatile solvents under reduced pressure, and is used in chemistry, chemical industry, biomedicine and other fields.
32 | Electric circular nitrogen blower | JC-WD-12(S)/24(S) | Rapid, controllable and continuous blowing of inert gas such as nitrogen onto the surface of the sample to achieve rapid anaerobic concentration of the sample solution
33 | Thermal desorption instrument sample pretreatment. | JPJX-2010A | Liquid Chromatograph Pretreatment Device
34 | Electric blast constant temperature drying oven | 101 series | It can be used for baking, drying, heat treatment and thermal processing of articles, agricultural production, scientific research, medical and health units, and experiments.
35 | Scanning UV-Vis Spectrophotometer | UV759 | High Resolution, Ground Stray Light, LCD Display UV-Vis Spectrophotometer
36 | Gas Chromatograph | JC-2011 | Qualitative and quantitative analysis
37 | Atomic Fluorescence Photometer | JC-YG-200 | Three lights and three channels
38 | Portable Ion Meter | PXBJ-287L | Measure multiple parameters of potential value, pH value, pX value, ORP value, RmV, ion concentration value, temperature value
39 | Flame Graphite Furnace Integrated Atomic Absorption Spectrophotometer | JC-YZ-600 | Quantitative analysis based on the degree of absorption of characteristic radiation by ground-state atoms of the measured element
40 | Gradient Liquid Chromatograph | LC600B | Qualitative and quantitative analysis
41 | Ion Chromatograph | IC-700 | Two modes of single-channel and dual-channel workstations, which can complete the acquisition and processing of anion and cation data at the same time
42 | Binocular microscope | XSP series-2CA | The microscopic magnification technology that applies the optical principle is used to make the collected fine samples into specimens, and the magnification and observation of the microscopic technology are carried out.
43 | Dust particle size analyzer | MD-1 | Accurate determination of dust particle size distribution
44 | Practical laboratory water purifier | JC-ROS-10/ 20 | Use pretreatment, reverse osmosis technology, ultra-purification treatment and post-treatment to remove conductive media