## Sheet1
Pickled Vegetable Testing -Laboratory Protocol
serial number | name | Common models | Features
1 | Heavy metal detector | JC-12C | Can quickly detect heavy metals lead, arsenic, cadmium, mercury, etc.
2 | Food additive detector | JC-12D | Can quickly detect nitrite, sorbic acid, sodium benzoate, etc.
3 | Microbial detector | JC-WSW | It can detect various food-borne pathogens such as Escherichia coli and Salmonella in food
4 | Mold incubator | MJ series | Test equipment for culturing eukaryotic microorganisms such as mold
5 | 1/10,000 electronic analytical balance | FA1004C | Weigh the sample
(Internal school)
6 | Binocular microscope | XSP series-2CA | The collected fine samples are made into specimens, and the magnification and observation of microscopic techniques are carried out.
7 | Double single-sided vertical air supply purification workbench | SW-CJ-2D | The quasi-closed glass damper can effectively prevent the penetration of external air and the stimulation of the human body by the operation odor.
8 | autoclave | 8L/18L/24L | Electric heating water is used to generate saturated steam under airtight conditions, which quickly moistens, heats and penetrates the sterilized object, and maintains pressure and heat preservation for a period of time. To kill microorganisms to achieve the purpose of sterilization