## Sheet1
Food hygiene - commonly used in laboratories
serial number | name | Common models | Features
1 | Atomic Fluorescence Photometer | JC-YG-200 | Three channels can be measured at the same time
2 | Visible Spectrophotometer | 721\722\722N\722S | Measure the degree of absorption of monochromatic radiation of different wavelengths by substances, quantitative analysis
3 | Gradient Liquid Chromatograph | LC600B | Qualitative and quantitative analysis
4 | LC/MS |  | Measure melamine, Aspergillus flavus
5 | Portable pH Meter ¦ Acidity Meter ¦ Acidity Tester | PHB-4 | Laboratory precision measurement of solution pH and electrode potential
6 | Atomic Fluorescence Photometer | JC-YG-200 | Three channels can be measured at the same time
7 | Gas Chromatograph | JC-2011 | Qualitative and quantitative analysis
8 | Automatic Kjeldahl nitrogen analyzer | JC-QN-04C | Grain, Feed, Food, Dairy, Beverages, Soil, Water, Medicines, Sediments and Chemicals, etc.
9 | Soxhlet extractor | JC-ST-04 | Developed using Soxhlet extraction technology for laboratory determination of fat content
10 | ELISA analyzer | JC-1181 | End-point method, two-point method, kinetic method, single/dual wavelength measurement mode, rapid measurement of sample absorbance, product mold manufacturing