## Sheet1
Adhesives - commonly used in laboratories
serial number | name | Common models | Features
1 | Gradient Liquid Chromatograph | LC600B | Qualitative and quantitative analysis
2 | Gas Chromatograph | JC-2011 | Qualitative and quantitative analysis
3 | Scanning UV-Vis Spectrophotometer | UV759 | High Resolution, Ground Stray Light, LCD Display UV-Vis Spectrophotometer
4 | Automatic Kjeldahl nitrogen analyzer | JC-QN-04C | Grain, Feed, Food, Dairy, Beverages, Soil, Water, Medicines, Sediments and Chemicals, etc.
5 | Portable pH Meter ¦ Acidity Meter ¦ Acidity Tester | PHB-4 | Laboratory precision measurement of solution pH and electrode potential
6 | Liquid Density Meter | DE-120W | Measuring liquid density
7 | Automatic trace moisture analyzer | JC-SF-1 | Suitable for the determination of moisture in most liquids, gases and solids
8 | automatic potentiometric titrator | ZD-2 | Control the titration end point according to the set potential, with manual, automatic, constant pH (potential) titration modes
9 | Automatic refractometer | JCZ-200 | Efficient and highly accurate measurement of the refractive index (nD) and the mass fraction of sugar solutions of various liquids such as transparent, translucent, dark, viscous, etc.
10 | Practical laboratory water purifier | JC-ROS-10/ 20 | Use pretreatment, reverse osmosis technology, ultra-purification treatment and post-treatment to remove conductive media
11 | Portable Gloss Meter | WGG60 | Measuring gloss
12 | Automatic Tension Meter | JK99C | measure surface tension
13 | Portable all-in-one COD analyzer | JC-200B | Determination of chemical oxygen demand in water
14 | BOD5 analyzer | JC-870H | Measuring Biological Oxygen Demand in Water
15 | automatic polarimeter | JCX-1 | It has four test modes: optical rotation, specific rotation, concentration and sugar content. It can automatically re-measure 6 times and calculate the average value and root mean square. It can test dark samples.