## Sheet1
Winery Labs -Buyer's Guide
Test items | product name | Product number | Specification | Standards compliant
Measuring water turbidity | Turbidimeter | JC-BZ-1T | 0-1000NTU
Measuring the refractive index and average dispersion of transparent and translucent liquids or solids | Abbe refractometer | JCZ-600 | 1.30000--1.70000(nD) | Refractive index of various liquids
Measure product color | Color difference meter | NS800 | 45°/0° (45° ring uniform illumination 0° | CIE No.15, GB/T 3978.
Measuring the conductivity of the electrolyte solution | conductivity meter | DDBJ-350 |  | Portable Conductivity
quantitative analysis | Spectrophotometer | 722 | Wavelength range: 320-1020nm
Measure the moisture content of the product | Karl Fischer Moisture Analyzer | JC-SF-3 | Measuring range: 3μg~100mgH2O (3ppm~100% water content)
Measure the degree of absorption of different wavelengths of monochromatic radiation by substances, quantitativelyAnalysis | UV-visible spectrophotometer | UV759CRT | 190-1100nm
Measure the optical rotation of the substance, analyze the concentration, purity and sugar content of the substance | automatic polarimeter | JCX-P610 | Optical rotation, specific rotation, concentration, sugar content
Determination of sodium ion concentration | Sodium ion concentration meter | JC-NaS-50 | 0-1000mg/L
Qualitative and quantitative analysis | Gas Chromatograph | JC-7890 | Room temperature 5℃-400℃
Measure PH value | PH meter | PHB-4 | 0-14 | Portable for field use
Determination of sugar content and sugar content in solutions | hand held sugar meter | PAL-1 | 0.0 to 53.0% Brix 0.1%
Dissolved oxygen | Dissolved Oxygen Meter | JPBJ-608 | (0.00～19.99)mg/L
observe tiny things | microscope | XSP-2CA | binocular
Quantitative analysis based on the degree of absorption of characteristic radiation by the basic atoms of the measured element | Atomic Absorption Spectrophotometer | JC-YZ-600 | Automatic flame graphite furnace integrated machine (8 lamp sockets)
Qualitative and quantitative analysis | Liquid chromatography | LC600B | Flow setting range: 0.001～9.999mL/min (adjust the flow in 0.001mL/min steps)
Measuring the surface color of opaque materials | Compare Colorimeters | WSL-2
Measuring beer turbidity | Beer Turbidity Tester | JC-XZ-1A-Z | 0-200NTU, 0-50EBC
Measure product color | Colorimeter | NS800 | 45°/0° (45° ring uniform illumination 0° | CIE No.15, GB/T 3978.