## Sheet1
Ambient Atmosphere Detection
serial number | name | Manufacturer's model | Specification | unit | quantity | Remark
1 | Atmospheric sampler | JCH-2400 |  | tower | 4 | Ambient Atmosphere Collection
2 | Suspended particle sampler | JCH-120F |  | tower | 4 | Environmental particulate matter TSP/PM10/PM5/PM2.5 collection
3 | Integrated Atmospheric /Particulate Sampler | JCH-6120 |  | tower | 4 | Environmental particulate matter TSP/PM10/PM5/PM2.5 and atmospheric comprehensive collection
4 | Soot and flue gas analyzer | JCY-80E(S) |  | tower | 1 | Determination of soot, O2, SO2, NO, NO2, CO, CO2, H2S (electrochemical sensor), low concentration soot
6 | Soot and flue gas analyzer | JCY-80E(Z) |  | tower | 1 | Determination of smoke and dust, O2, SO2, NO, NO2, CO, CO2, H2S (UV differential method)
7 | Asphalt Smoke Sampling Gun | Matching JCY-80E(S) |  | tower | 1 | Stationary pollution source exhaust gas asphalt smoke detection
8 | Sulfuric acid mist sampling gun | Matching JCY-80E(S) |  | tower | 1 | Stationary pollution source waste gas sulfuric acid mist detection
9 | Hydrochloric acid mist (hydrogen chloride) sampling gun | Matching JCY-80E(S) |  | tower | 1 | Hydrochloric acid mist detection of stationary pollution source waste gas
10 | Fluoride Sampling Gun | Matching JCY-80E(S) |  | tower | 1 | Fluoride detection in waste gas from stationary pollution sources
11 | Multifunctional sampling gun | Matching JCY-80E(S) |  | tower | 1 | Fixed pollution source hydrogen chloride, hydrochloric acid mist, sulfuric acid mist, fluoride all-in-one detection
12 | Fume sampling gun | Matching JCY-80E(S) |  | tower | 1 | Fixed pollution source exhaust gas soot detection
13 | Low concentration smoke sampling gun | Matching JCY-80E(S) |  | tower | 1 | Fixed pollution source smoke and dust filter method detection
14 | flue gas sampler | JCY-2 |  | tower | 1 | Waste gas sampling from stationary pollution sources
15 | Volatile Organic Compound Sampler | JCH-2110 |  | tower | 1 | Sampling of volatile organic compounds in ambient air, adsorption tube method
16 | Volatile Organic Compound Sampler | JCY-3038 |  | tower | 1 | Sampling of volatile organic compounds from stationary pollution sources, adsorption tube method
17 | Vacuum box air bag sampler | JCY-3036 |  | tower | 1 | air bag method
18 | Ringelmann smoke blackness tester | JCP-HD | 1000 meters | tower | 1 | Smoke blackness
19 | Ringelmann blackness diagram | JCP-HB |  | tower | 1
20 | Integrated Flow Calibrator | JCY-2020(S) |  | tower | 1 | Calibrate flow, pressure, etc.
twenty one | Air Fluoride Sampler | JCH-120S |  | tower | 4 | For collection of fluoride and heavy metals in the environment
twenty two | Soap film flowmeter | JCL-2010 |  | tower | 1 | Calibrate small flow sampler, range is optional, communicate in advance
twenty three | orifice flowmeter | JCL-100 |  | tower | 1 | Calibrating Medium Flow Particulate Samplers
twenty four | Light Scattering Dust Meter | JCF-6H |  | tower | 1 | Determination of light scattering PM2.5, PM10
25 | Six-stage mesh microbial sampler | FA-1 |  | tower | 1 | microbes in the air
26 | Plankton sampler | FKC-1 |  | tower | 1 | Airborne bacteria
27 | Octave Sound Level Meter | AWA5688-2 | Statistics, storage, with printer | tower | 1 | For environmental social life noise measurement
28 | Explosion-proof personal noise dosimeter | ASV5910-1 | (Configuration class 1, class 2, single set with simple configuration, explosion-proof mark Exib ⅡBT3 Gb) | tower | 1 | for occupational hygieneindividual noise measurement
29 | multifunction sound level meter | AWA6228+ | Level 1, statistics, storage, 1/1OCT analysis, with AH40 printer | tower | 1 | For environmental social life noise measurement
30 | Explosion-proof octave sound level meter | YSD130 | (Level 2, Integral, Statistical Analysis) | tower | 1
31 | sound level calibrator | AWA6021A | Calibrated Class 1, Class 2 Sound Level Meters | tower | 1 | Calibrate the Noise Meter
32 | Illumination | TES-1330A |  | tower | 1 | Illumination
33 | High-frequency near-field electromagnetic field tester | RJ-2 |  | tower | 1 | Electromagnetic field determination
34 | Power frequency electric field measuring instrument | RJ-5 |  | tower | 1 | electric field
35 | Microwave leakage meter | ML-91VA |  | tower | 1 | microwave radiation
36 | thermometer | TES-1360A |  | tower | 1 | Temperature and humidity
37 | hot bulb anemometer | QDF-6 |  | tower | 1 | wind speed
laboratory analysis
serial number | name | model | Specification | unit | quantity | Remark
1 | Ordinary electronic precision balance | YP10002 | 1000g/10mg | tower | 5 | Sample weighing
2 | One thousandth electronic analytical balance | JA3003N | 300g/1mg | tower | 5 | Sample weighing
3 | 1/10,000 electronic analytical balance | FA2204B | 220g/0.1mg | tower | 5 | Sample weighing
4 | 1/100,000 electronic analytical balance | ME55 | 52g/0.01mg | tower | 2 | Sample weighing (recommended import, this model brand is METTLER TOLEDO)
5 | Digital display constant temperature water bath | HH-6 | 6 holes/double row | tower | 2 | sample heating
6 | Digital quadruple magnetic stirrer | JC-HJ-4A | 4 | tower | 1 | sample stirring, mixing
7 | autoclave | 18L autoclave | 18L | tower | 1 | Sterilization of glassware
8 | Ultrasonic cleaner | JC-A-QX-30L | 30L | tower | 2 | Cleaning of glassware and equipment
9 | Benchtop low speed centrifuge | TDL-4 | 4000 rpm | tower | 1 | Separation of liquid and solid particles or mixture of liquid and liquid
10 | Ultrapure water machine | JC-ROF-20 | 20L/H | tower | 1 | Preparation of pure water / ultra pure water
11 | Visible Spectrophotometer | 723S | Wavelength range 330-1100nm | tower | 1 | Quantitative or qualitative analysis of substances
12 | UV-visible spectrophotometer | UV759CRT | wavelength range | tower | 1 | Quantitative or qualitative analysis of substances
180-1100nm
13 | Mercury meter | F732 series-VJ | Mercury Measurement | tower | 1 | Mercury Measurement
14 | Atomic Absorption Spectrophotometer | JC-YZ-600 | Graphite flame all-in-one machine | tower | 1 | Mainly used for trace element and trace analysis measurement and analysis
15 | Atomic Fluorescence Spectrophotometer | JC-YG-200 | Three lights and three channels | tower | 1 | Trace analysis and measurement of eleven elements such as arsenic, mercury, selenium, tin, lead, bismuth, antimony, tellurium, germanium, cadmium, and zinc in samples.
16 | Ion Chromatograph | IC-700 | Standard | tower | 1 | Analysis and measurement of cations and anions in samples
17 | Liquid chromatography | LC-600B | double pump | tower | 1 | Biochemical Analysis and Inorganic Analysis
18 | Gas Chromatograph | JC-7890 | Configuration customization | tower | 1 | Configure according to the different items to be tested
19 | Water Quality Sulfide Acidizing Air Blowing Instrument | JC-GGC600 | 6 bits | tower | 1 | Sulfide blower
20 | Nitrogen blower | JC-WD-24 | 24 bit | tower | 1 | sample concentration
twenty one | Flat Open Flip Shaker | JC-GGC3000 | 8 bits | tower | 1 | Sample preparation for soil and solid waste
twenty two | Liquid-liquid extraction device | JC-CQ-04 | 4 bit | tower | 1 | Liquid-liquid extraction and water-oil extraction
twenty three | Soxhlet extractor | JC-ST-06 | 6 bits | tower | 1 | Fat, Soil Extract
twenty four | Solid phase extraction instrument | JC-GX-24 | 24 bit | tower | 1 | sample extraction
25 | Rotary evaporator | JC-ZF-X52AA | Water bath series | tower | 1 | Sample concentration, drying, recovery
26 | Biochemical incubator | LRH-150B | 150L | tower | 1 | BOD5 culture
27 | Constant temperature and humidity incubator | HS-150 | 150L | tower | 1 | Bacteria and Cell Culture
28 | Electric blast drying oven | 101 Series-3B | 220L | tower | 1 | Removal of residual moisture in specimens, dry heat sterilization of glassware for microorganisms, preheating before heating experiments
29 | Electric heating plate | JC-B-DB-03A | Standard | tower | 3 | sample heating
water quality testing
serial number | name | model | Specification | unit | quantity | Remark
1 | COD standard digester | JC-102 | 8 holes | tower | 2 | COD (2 hours standard reflux)
2 | Sealed microwave digester | JC-600W | 6 bits | tower | 1 | Sealed microwave sample preparation equipment
3 | Graphite digester | JC-101D | 60 holes | tower | 1 | Pretreatment and Acid Catching Treatment of Microwave Digestion
4 | Conventional multi-parameter detector | JC-401C | 25 holes | tower | 1 | COD/Ammonia Nitrogen/Total Phosphorus/Total Nitrogen Multiparameter Determination
5 | BOD5 detector | JC-870H | 6 bits | tower | 2 | Determination of five-day biochemical oxygen demand
6 | Infrared Oil Gauge | JC-OIL-6 | digital display | tower | 1 | Oil/Petroleum in Water
7 | Turbidity Tester | JC-WGZ-800 | 0-800 | tower | 1 | Turbidity in sewage
8 | Suspended matter detector | JC-SS-1Z | 0-1000PPM | tower | 1 | Suspended solids in sewage
9 | Desktop PH detector | PHS-3C | 0-14 | tower | 2 | benchtoplaboratory
10 | Portable pH Detector | PHB-4 | 0-14 | tower | 4 | Portable for field use
11 | Residual chlorine/chlorine dioxide detector | JC-YZ-1Z | 0-10mg/L | tower | 2 | Residual chlorine/chlorine dioxide
12 | Colorimetric Tester | JC-XZ-WS | 0-200PCU | tower | 1 | Chroma in sewage
13 | Conductivity detector | DDBJ-350 |  | tower | 2 | Portable Conductivity
14 | Dissolved oxygen detector | JPBJ-608 | 0-20 | tower | 2 | Portable Dissolved Oxygen
15 | flow meter | JC-HS-2 |  | tower | 2 | Velocity/Flow
16 | Manual water sampler | JC-800 | 2.5L | indivual | 4 | Manual water collector
17 | Automatic water quality sampler | JC-8000D | 12 bottles | tower | 2 | automatic water collector
18 | Cypriot disc | JCT-8S |  | tower | 2 | Transparency meter